
	
Specification for re-pointing of front wall and part of tower area of Telscombe Civic Centre 
360 South Coast Road, Telscombe Cliffs, BN10 7ES
August 2026


	What3Words location ///ratty.engrossed.stags


	Area 1 – Entire front wall 

[image: ]   
To rake out loose/existing mortar to the entire area shown within yellow box in photo above, to a depth of 20mm and re-point with matching colour.

Close-up photos of worst affected areas are below:-

[image: IMG_9720.jpeg]     [image: IMG_9721.jpeg]     [image: IMG_9724.jpeg]


Price for area 1 :-

£           


Is VAT applicable   Yes/No




	Area 2 – Top and central area of tower

[image: IMG_9735.jpeg]   
To rake out loose/existing mortar to the top and central area shown in photo above to a depth of 20mm and re-point with matching colour.   

Close-up photos of the affected areas are below:-

[image: IMG_9734.jpeg]   [image: IMG_9730.jpeg]

Price for area 2:-

£           


Is VAT applicable   Yes/No

To wash down and remove all debris daily.

To clear all debris from site and leave clean and tidy on completion.

Please advise the exact mortar type/mix ratio to be used, i.e., sand/cement/lime, bearing in mind the salt exposed location     

Any other information you would like to provide, including proposed finishing technique
     


	 
Please provide a copy of your appropriate current liability insurance certificate(s) with your quotation.  
RAMS will also be required if you are successful.


	
If you have any queries please email - stella.newman@telscombetowncouncil.gov.uk

Please return quote by 10am on Friday 18th September 2026 to the email address above or by post to the address at the top of the specification.




	Declaration

	
Signed:                                                                                   Date:             

Name:                

On behalf of:                       
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